## Slide 1: How to Update Firmware on Respimatic 100
Step-by-step Procedure

## Slide 2: Equipment needed
Windows Laptop
USB Cable
Respimatic 100
One end with micro-USB connector

## Slide 3: Firmware Update Procedure Overview
One-time Download Arduino Builder
One-time Install Arduino Builder
Install Respimatic Firmware Release
Download Respimatic Firmware Release

## Slide 4: Download Arduino Builder

## Slide 5: Download Arduino Builder Step 1
Open URL https://www.respimatic.com in your browser
Click on
“Update System Firmware”

## Slide 6
Click on
“One-time Download
Arduino Builder”
Download Arduino Builder Step 2

## Slide 7
The .exe is downloaded to your Downloads folder
Read and Dismiss the information popup
Download Arduino Builder Step 3

## Slide 8: Install Arduino Builder

## Slide 9: Install Arduino Builder Step 1
Find the downloaded .exe file (in your Downloads folder)
Double Click on the .exe file to execute it
You will need admin privileges on your laptop to execute this file
Your laptop’s anti-virus software will sanitize the file automatically

## Slide 10: Install Arduino Builder Step 2
The Arduino Builder installer will guide you step-by-step
Click on “Next”

## Slide 11: Install Arduino Builder Step 3
Click on “Install”

## Slide 12: Install Arduino Builder Step 4
Click on “Finish”

## Slide 13: Install Arduino Builder Step 4
Arduino Builder is installed!
You can now delete the .exe file in your Downloads folder

## Slide 14: Download a Firmware Release

## Slide 15: Download Firmware Release Step 1
Open URL https://www.respimatic.com in your browser
Click on
“Update System Firmware”

## Slide 16
Click on the download icon button next to the release you wish to download
Download Firmware Release Step 2

## Slide 17
A .zip is downloaded to your Downloads folder
Read and Dismiss the information popup
Download Firmware Release Step 3

## Slide 18
Double click on the downloaded .zip file to open it
Click on the “Extract All” button
Download Firmware Release Step 4

## Slide 19
A folder with the same name as the release tag will be created
It should show two files within it
Dashboard.ino.nodemcu.bin
Respimatic100.ino.mega.hex
Release is now downloaded and ready to be uploaded to the Respimatic system
Download Firmware Release Step 5

## Slide 20: Install Firmware Release

## Slide 21: Install Firmware Release Step 1
Search for “Arduino Builder” on the laptop

## Slide 22
Click on
“Arduino Builder”
in the search window
Install Firmware Release Step 2

## Slide 23
Arduino Builder app window will open
Install Firmware Release Step 3

## Slide 24
Connect laptop’s USB port to the micro-USB port labelled “Controller” on the back of the control panel of the Respimatic system
Install Firmware Release Step 4

## Slide 25
Select “Arduino Mega 2560/ADK” from the dropdown menu in the “Target” field
Check “Verify” box
Install Firmware Release Step 5

## Slide 26
Click “Load Sketch/Binary” button on the Arduino Builder
Select Respimatic.ino.mega.hex from the extracted folder from the downloaded release
Install Firmware Release Step 6

## Slide 27
Check “Refresh” button on the
Arduino Builder
It refreshes the list of COM ports that the Respimatic system could be connected to
Install Firmware Release Step 7

## Slide 28
Click the correct COM port i.e. the laptop port that the Respimatic system is connected to (in this example it is COM3)
Arduino Builder will now install the selected file on the Respimatic system
Now we need to follow a similar procedure for the other file in the release.
Install Firmware Release Step 8

## Slide 29
Connect laptop’s USB port to the micro-USB port labelled “Wi-Fi” on the back of the control panel of the Respimatic system
Install Firmware Release Step 9

## Slide 30
Select “NodeMCU (ESP8266)” from the dropdown menu in the “Target” field
Check “Verify” box
Install Firmware Release Step 10

## Slide 31
Click “Load Sketch/Binary” button on the Arduino Builder
Select Dashboard.ino.nodemcu.bin from the extracted folder from the downloaded release
Install Firmware Release Step 11

## Slide 32
Click the correct COM port i.e. the laptop port that the Respimatic system is connected to (in this example it is COM3)
Arduino Builder will now install the selected file on the Respimatic system
Install Firmware Release Step 12

## Slide 33: DONE